## Construction
PROPOSED GALINSOOR SECONDARY SCHOOL SOMALIA
COST ESTIMATES FOR BUILDING, MECHANICAL & ELECTRICAL WORKS
ITEM | ELEMENT/DESCRIPTION | Unit | Qty | Unit Cost | Total cost
1 | PRELIMINARIES
MAIN CONTRACTORS PRELIMINARIES
1.1 | Water, Security, Transport, Temporary structures,and Scaffoldings | Ls | 1
2 | PREPARATORY WORKS
2.1 | Site Clearance
| Allow for Site Clearance, Excavation of Vegetable Soil and Disposal to approved dumping sites | Sm | 1905
3 | SUBSTRUCTURE
3.1 | Excavation for strip foundation footing and walling including cart away of surplus soil, back filling and rumming sides of foundation walling. | Cm | 418
3.2 | Mass concrete blinding to strip footing | Cm | 14
3.3 | Reinforced concrete in strip footing | Cm | 56
3.4 | Reinforcement bars in strip footing | Kg | 1415
3.5 | Formwork - over 150m Not Exceeding 225m | Lm | 927
3.6 | Foundation walling | Sm | 580
3.7 | Damp Proof Course to Foundation Walling | Lm | 464
3.8 | Hardcore filling under floor slab | Cm | 239
3.9 | Natural sieved gravel | Sm | 796
3.1 | Damp Proof Membrane laid under Concrete Slab | Sm | 796
3.11 | Fabric Mesh Reinforcement laid under Concrete Slab | Sm | 796
3.12 | Formwork - over 75m Not Exceeding 150m | Lm | 405
3.13 | 150mm Concrete slab | Cm | 120
4 | SUPERSTRUCTURE
4.1 | RC Ring Beam
4.1.1 | 200x300MM RC ring beam | Cm | 26
4.1.2 | Assorted Formwork timber | Lm | 683
4.1.3 | Reinforcement bars in RC Beam | Kg | 1551
4.2 | Roof
4.2.1 | Rafters 150x50mm | Lm | 400
4.2.2 | Wall plates timber 150x50mm: use well seasoned dressed timber | Lm | 609
4.2.3 | Purlin wood 75x50mm; soft wood advisable | Lm | 673
4.2.4 | Tie Beam 150x50mm | Lm | 370
4.2.5 | King Post 150x50mm | Lm | 78
4.2.6 | Ties and Struts 75 x 50mm | Lm | 278
4.2.7 | 2.4M iron sheet cladding Gauge 28 color laminated | No | 309
4.2.8 | Iron sheet fastening nails: for both units | Kg | 60
4.2.9 | Fascia board Cladding: | Lm | 268
2010-04-02 | Assorted Carpentry nails | Kg | 40
2011-04-02 | Extra over for fittings | Lm | 15
4.3 | External & Internal Walls
4.3.1 | 200mm thick walling | Sm | 1210
4.4 | Doors Generally
In wrot softwood
4.4.1 | 150 x 50mm thick frame; polished | Lm | 199
4.4.2 | 900x2400mm high; flush door | No | 37
4.4.3 | 1800x2400mm high; flush door | No | 2
4.4.4 | Three coats gloss paint to timber surfaces | Sm | 148
4.4.5 | Three coats gloss paint to surfaces over 100mm N.E. 200mm girth | Lm | 199
4.5 | Windows
4.5.1 | 2100mm x 1500mm high mild steel casement windows with 6mm thick clear glass | No | 46
5 | FINISHES
5.1 | Wall Finishes
5.1.1 | External Wall finishes: 12mm lime plaster + Distemper painting: apply sufficient coats to an acceptable finish | Sm | 673
5.1.2 | Internal wall finishes: 12mm lime plaster + paint to concrete/masonry surfaces | Sm | 1423
5.2 | Floor Finishes
5.2.1 | 40mm thick cement sand screed trowelled smooth | Sm | 896
5.3 | Ceiling Finishes
5.3.1 | Supply and fix ceiling board onto roof brandering (2.4x1.2m) - To all rooms and verandah. | No | 275
6 | BOUNDARY WALL
6.1 | Excavate N.E. 1.5m deep and construct a perimeter wall overall height 2200mm above ground floor level with and including horizontal keying and pointing to both sides of the wall to approval | Sm | 1480
7 | SERVICES
7.1 | Sanitary Installations
7.1.1 | Supply and install eastern toilets and wash hand basin (white) 500 x 410mm, one centre tap hole; complete with all brackets and fixings, 35mm diameter chrome plated bottle trap with extension pipe to wall with flange; and flexible pipe, connectors and angle valves. Preferred make: To match existing or Duravit, Armitage Shanks | No | 6
7.1.2 | Supply and install Proprietary brand stainless steel floor trap 100 x 100mm with stainless steel frame and stainless steel access cover with drainage holes and also 150mm by 150mm Square gully trap. | No | 4
7.2 | Electrical Installations
7.2.1 | Suply and fix submain cables,distribution 7.2.1 board,circuit breaker and earthing.Concealed 50mm | LM | 40
diameter HG PVC conduit.
7.2.2 | Supply and install lighting cables,internal and 7.2.2 external lighting fixture appliances and switched | No | 60
plate.Concealed 20mm diameter HG PVC conduit.
7.2.3 | Supply and install Socket outlet cables and 13A twin 7.2.3 switched socket points.Concealed 25mm diameter HG | No | 20
PVC conduit.
| Supply and install Data cables,data outlet unit as 7.2.4 Clipsal or equivalent and approved.Concealed in | No | 10
25mm diameter HG PVC conduit.
| TOTAL (Building works, including M&E engineering works) |  |  |  | 0
8 | CONTINGENCY 5% of the total |  |  |  | 0
|  |  |  | Subtotal | 0
VAT
|  |  |  | Total | 0
Follow the description of equipment, materials and / or services above and any attached specifications.
TERMS AND CONDITIONS
1 | Indicate validity of the offer
2 | State Warranty
3 | Indicate payment Terms.
4 | Indicate Currency
5 | Indicate Delivery lead time